## Slide 1: Applying AI to Healthcare
Jenine John, MD
October 19, 2023

## Slide 2: Overview
Overview of AI
Applications of AI to Healthcare
Assessing Performance of AI tools

## Slide 3: Background
Cardiology Fellowship
  Stony Brook University Hospital
Cardiac Imaging Research Fellowship
  Brigham and Women’s Hospital
Healthcare AI Research Fellowship
  Brigham and Women’s Hospital
BWH Innovation Fellowship
  Biofourmis (remote patient monitoring)

## Slide 4
Technical aspects of AI techniques
Application of AI techniques to healthcare
Healthcare AI

## Slide 5: Overview of AI

## Slide 6
AI
Simulating human abilities
Machine Learning
AI by learning from data
Deep Learning
ML by using deep neural networks

## Slide 7: Deep Learning allows highly complex predictive models
Regression model
  Here are 10 measurements from a patient’s echocardiogram. What is the probability they will develop heart failure?
  https://medium.com/analytics-vidhya/understanding-polynomial-regression-5ac25b970e18
  https://www.pycodemates.com/2023/01/multi-layer-perceptron-a-complete-overview.html
Neural Network model
  Here is a clip from the patient’s echocardiogram. Based on these 1 million pixels, what is the probability they will develop heart failure?

## Slide 8: Deep Learning: President Identifier
Architecture
  Skeleton of model created by data scientist
Training Dataset
  1,000 different pictures of US presidents with their names
Training process
  Algorithm learns to find patterns in the pictures that help predict the name

## Slide 9
https://www.pnas.org/doi/10.1073/pnas.1821594116

## Slide 10: Applications of AI to Healthcare

## Slide 11: AI in Healthcare
https://www.frontiersin.org/articles/10.3389/fcvm.2022.836375/full
https://www.businesswire.com/news/home/20210812005104/en/Butterfly-Network-and-Caption-Health-Announce-Exclusive-Strategic-Partnership-to-Enable-Earlier-Disease-Detection-and-Management-With-AI-Based-Guidance-and-Diagnostics
Improve what we already do
Allow us to do things we couldn’t before

## Slide 12: AI in Healthcare
Over 500 FDA-approved AI tools
  #1: Radiology (including cardiac imaging) - ~75%
  #2: Cardiology - ~11%
Many more AI tools that are not FDA regulated (e.g. administrative tools)
Despite this, most physicians may not consider themselves as using AI
  Low level of implementation
  Replacement of non-AI tools with AI tools may be seamless
    Many tools have AI versions and non-AI versions
      Sepsis prediction score
      Automated radiology measurements
      Analysis of remote patient monitoring data
    Predicate for >1/3 of FDA 510(k)-cleared AI tools is a non-AI tool

## Slide 13: Challenges
Challenging to acquire the right data to create AI models
  Need datasets that are:
    Large enough
    Appropriate - representative of all the settings the tool will be used in
    Have information in a consistent format (variables may vary across institutions)
  Groups addressing: Nightingale Health, MAIDA, Atropos, Rhino Health
Challenging to choose AI tools to implement
  Difficult to figure out what tools are available and popular - Process sometimes relies on clinical champions
  Often unclear how well a tool performs
  Groups addressing: ACR AI Central, Dandelion Health
Challenging to implement AI tools
  Outdated hardware and software
  Limited interoperability across different software
  Limited IT dept capabilities
Challenging to gain clinician acceptance
  Clinicians often wary of new tech, especially after poor experiences with prior software
  Fear of clinicians being replaced (“Augmented Intelligence” is a term being used more)
  Unclear legal ramifications of following/not following AI-generated advice

## Slide 14: Assessing Performance of AI Tools

## Slide 15: Considerations Broadly Applicable to Health Tech Tools
Technical performance vs clinical performance
  Meaningful metrics
  Accounting for human-machine interaction
Outcome impact
  Impact of low-hanging fruit like remote monitoring for arrhythmias
Improvement from the tool? Or from simultaneous improvements in workflow?
https://www.londoncardiovascularclinic.co.uk/cardiology-info/investigation/reveal-deviceloop-recorder

## Slide 16: Considerations Applicable To Data-Driven Tools
The data used to create the model:
Inadequately cleaned
Uses variables inappropriately
Not representative of all the settings the tool will be used in

## Slide 17: Considerations Applicable To Data-Driven Tools
The data used to create the model:
Excludes low-quality samples
Has inadequate coverage of values that will be encountered in practice
  Hypertrophic cardiomyopathy (HCM) and healthy
  HCM, severe hypertension, aortic stenosis, healthy
Is no longer as applicable to the current clinical environment (model drift / model shift)
Has insufficient samples of a particular sex or self-reported race - can lead to algorithmic bias
Sanders, W. JACC Advances (2023)

## Slide 18: Algorithmic Bias
Can be problematic to include self-reported race in algorithms
  STS cardiac surgery risk score
Can be problematic to simply disregard self-reported race in algorithms
  Optum risk score - Who should get additional support to lower healthcare costs?
Black patients traditionally have poor surgery outcomes
Race-specific patterns encoded into (non-AI) model
Black patients discouraged from surgery because high risk
Vyas, D. NEJM (2020)
Obermeyer, Z. Science (2019)
Black patients have lower future healthcare costs
Black patients have lower risk score, so receive fewer resources

## Slide 19: Algorithmic Bias
May be impossible to remove race as a feature within a model
Gichoya, J. Lancet Digital Health (2022)

## Slide 20: Considerations Specific to AI
https://www.geeksforgeeks.org/underfitting-and-overfitting-in-machine-learning/
Frequent issue: Overfitting
Underfitting
Appropriate Fitting
Overfitting
(poor generalization)

## Slide 21: Overfitting
Dataset
Training set
Validation set
Test set
Assess performance on unseen data to help ensure overfitting doesn’t happen (generalizability preserved)
Assess performance on unseen data
Test set performance may be artificially inflated
- Can use test dataset over and over -> overfitting to test dataset
- Similar studies from same patient used in training set and test set
External Validation Dataset

## Slide 22: Advantages of External Validation
Not affected by overfitting to test set
Not affected by some types of mistakes during model development
Ensures generalizability to another healthcare setting, which may have different:
  Patient demographics
  Disease prevalence
  Treatment approaches (e.g. outcomes may be different at academic center that is aggressive with procedures)
  Available data points (deep learning generally doesn’t handle missing data well)
  Hardware / Software (e.g. different radiology vendors)

## Slide 23: Adequate Evaluation of AI Model
Overall performance metrics
Condition subgroups
  Class imbalance may lead to poor subgroup performance
Demographic subgroups
Edge cases
Failure cases
Sinus rhythm
A Fib
Class Imbalance
V. Tach
Cardiac MRI segmentation

## Slide 24: Explainability
Trade-off between performance and explainability
Unintended features may be encoded within the “black box”
  If a priest visits a patient, then the patient is likely to die soon
  If a chest x-ray is done in the patient’s room, the patient has a higher probability of having pneumonia
  If a patient has labs drawn at night, they have a higher probability of having sepsis
  If a freckle has presurgical markings, then it is probably melanoma
Explainability methods
  many argue for these, because AI models may occasionally fail in unexpected ways
  do not fully explain individual model predictions
  may be misleading and provide false reassurance
Winkler, J. JAMA Dermatology (2019)
Ghassemi, M., Lancet Digital Health (2021)

## Slide 25: Considerations Not Yet Addressed by FDA
Generative AI – hallucinations
Online learning – continuously updating model

## Slide 26: Putting Healthcare AI Into Perspective
Still potential for AI winter in healthcare?
Stimulating investments into data infrastructure, upgrading technology, improving workflows
ASCVD risk score for coronary heart disease – uses 13 variables, based on decades-old data
  How have advances in medical care in the past decades changed risk?
  How does use of this risk score affect risk?
  Is the risk same for a patient at a large academic medical center and a patient at a small rural clinic?
  How accurate is this score for patients with kidney disease?
  How accurate is this score for minority races?
  How do social determinants of health affect risk?
https://twitter.com/ricard_sole/status/1497306702181548039

## Slide 27: Questions?

## Slide 28: AI in Healthcare Examples
Viz.AI – triaging – low downside risk, high upside potential

## Slide 29: AI in Healthcare Examples
LumineticsCore (previously IDx-DR)
  First FDA-approved autonomous healthcare AI product
  Uses proprietary camera – no vendor variability

## Slide 30: AI in Cardiology Examples
More robust predictive models
  Is this person likely to develop X issue?
  Do this patient’s remote monitoring signals look like those from someone who is becoming ill?
Large Language Models
  Drafting clinician notes
  Explaining info to patients
Cardiovascular imaging
  Automated measurements
  Improved image post-processing
    Motion correction for heartbeats and breathing
    Simulation of contrast-enhanced images
  Future potential uses
    Extracting information from images that is not visible to human eye
      Evaluating CT for heart muscle that is not getting enough blood
    Integrating information across two different modalities – e.g. echocardiogram and CT

## Slide 31: AI in Healthcare
https://www.ahrq.gov/learning-health-systems/about.html
https://www.businesswire.com/news/home/20210812005104/en/Butterfly-Network-and-Caption-Health-Announce-Exclusive-Strategic-Partnership-to-Enable-Earlier-Disease-Detection-and-Management-With-AI-Based-Guidance-and-Diagnostics
Improve what we already do
  Assist with repetitive tasks
  Avoid errors or missed diagnoses
  Improve management in the “gray zones” of medicine by setting up Learning Health Systems
Allow us to do things we couldn’t before
  Diagnose conditions at earlier stages
  Novel tools such as a tool to guide novice users to perform an echocardiogram
  Draft clinical notes